MOLECULAR BIOLOGY SERVICE

SANGER SEQUENCING FACILITY

PLATE PREPARING

- take about 150 – 200 ng plasmid per reaction

(for PCR products take 20 – 50 ng per reaction)

(for BACs take about 500 – 1000 ng per reaction)

If the concentration of your sample is lower take more µl (maximum 6 µl), if the concentration is higher take less µl (minimum 0.3 µl)

- add 1 µl of a 5 µM primer solution

- fill up with MonoQ up to 7 µl

- Pipette the plate in the following order (by COLUMNS, VERTICAL way!!!):

A1------->H1

A2------->H2

A3------->H3 and so on…

Prepare an excel sample sheet and put it into the computer into the folders “CHIPSEQ” or “SCRATCH”

| A1 | Abbreviation of name (first 4 letters of your name)_Sample name_Primer |
| --- | --- |
| B1 | Abbreviation of name (first 4 letters of your name)_Sample name_Primer |
| C1 | Abbreviation of name (first 4 letters of your name)_Sample name_Primer |
| D1 | Abbreviation of name (first 4 letters of your name)_Sample name_Primer |
| E1 | Abbreviation of name (first 4 letters of your name)_Sample name_Primer |
| F1 | Abbreviation of name (first 4 letters of your name)_Sample name_Primer |
| G1 | Abbreviation of name (first 4 letters of your name)_Sample name_Primer |
| H1 | Abbreviation of name (first 4 letters of your name)_Sample name_Primer |
| A2 | and so on↓ |

- Please mind that the abbreviation of the name and the sample name respectively sample name and primer ARE SEPARATED by underscore.

- Please write abbreviation of name_sample name_primer name all in one column.

- !!!Abbreviation of name_sample name_primer name should all together (including underscores) be not longer than 25 characters!!!

(Please don’t use one of the following characters: !!!the machine can’t read them!!!

/  \  :  *  ?  ‘  “  <  >  ,  and don’t use spaces

- Write the path on your sequencing order sheet where we can find it on the computer.

For instance: see file on “Chip seq/name of folder/exact name of the sample sheet”